## 10.2 Contract-Allocated
PROJECT SUGGESTED BUDGET
PROJECT |  |  | REFERENCED DRAWINGS |  |  |  | DOCUMENT DATE
A | SUMMARY SCOPE OF WORK
PROJECT CALCULATIONS
| Total Garage and Storage SF |  | 1772 | SF
| Ceiling Height |  | 12 | FT
| Parapet Height |  | 16 | FT | [9 empty] | Budget Variance | 15%
*The following is intended to serve as a general Scope of Work and does not indicate and specifics as to the work. Reference line items details for specifics. Cost calculations are based off of the quantity and units adjacent to line items.
Description of Work
| 1 | Addition of garage, storage area and bathroom
| 2 | Addition of elevator from level of Exercise Room to upper floor Kitchen
[12 empty] | Qty |  | Unit Cost | Subtotals | Days | Actual | Low Range | High Range
B | GENERAL CONDITIONS | [15 empty] | 1400 | 1190 | 1610
| 1 | Permits - Builder shall submit and pay for permit drawings | [6 empty] | 0 | EA |  | 0 |  |  | 0
| 2 | Design/Drafting - This SOW does not include any design or drafting work. This work may have been performed under a separate contract. | [6 empty] | 0 |  |  | 0 |  |  | 0
| 3 | Supervision - Builder shall provide job site supervision as necessary and project management throughout the project. | [6 empty] | 14 | weeks |  | 14 |  | 100 | 1400
| 4 | Trash - Builder to set up a trash dumpster and remove trash as needed as a result of construction | [6 empty] | 14 | weeks |  | 14 |  |  | 0
| 5 | Toilet - Builder shall provide a job site toilet for the duration of the project | [6 empty] | 14 | weeks |  | 14 |  |  | 0
| 6 | Insurance - Builder shall provide general liability insurance during the course of construction. | [6 empty] | 1 | EA |  | 1 |  |  | 0
| 7 | Casual Labor - Builder shall provide casual labor to perform work that is not directly related to trades | [6 empty] | 14 | weeks |  | 1 |  |  | 0
| 8 | Cleaning - Builder shall keep all surfaces in "broom swept" condition throughout the project and provide professional cleaning at the commencement. | [6 empty] | 1 | EA |  | 1 |  |  | 0
| 9 | Rekey - Builder shall rekey all exterior locks that keys were provided for. This will ensure that the homeowner is the only one with the house keys. | [6 empty] | 1 | EA |  | 1 |  |  | 0
| 10 | Pest Treatment - Builder shall ensure that all structural concrete pads have termite treatment applied to prior to pouring concrete. | [6 empty] | 3 | EA |  | 3 |  |  | 0
| 11 | Compaction - Builder shall attain soil compaction tests by a licensed engineered on soil under structural concrete slabs | [6 empty] | 2 | EA |  | 2 |  |  | 0
| 12 | Inspections - Builder shall coordinate all permit required inspections | [6 empty] | 1 | EA |  | 1 |  |  | 0
| 13 | HVAC Calculations - Builder shall secure engineered mechanical calculations required by Pima County | [6 empty] | 0 | EA |  | 0 |  |  | 0
| 13 | Soil Engineering - Builder shall secure a soil compaction test for areas under garage | [6 empty] | 0 | EA |  | 0 |  |  | 0
| 14 | Surveyor - Builder shall secure a surveyor to mark on East property line | [6 empty] | 0 | EA |  | 0 |  |  | 0
0
Exclusions | [14 empty] | 0
| 1 | Items not specifically stated in this document | [12 empty] | 0
| 2 | Quantities greater than 120% of listed Quantities per line item | [12 empty] | 0
0
Client Responsibilities | [14 empty] | 0
| 1 | Removal of all items from Exercise Room prior to commencement | [12 empty] | 0
| 2 | Removal of all hangings from walls adjacent to Exercise Room and Kitchen | [12 empty] | 0
| 3 | Removel of all items from current Laundry / Utility Room | [12 empty] | 0
| 4 | Removal of sauna | [12 empty] | 0
| 5 | Removal of all items not permanently attached to structure within 10' | [12 empty] | 0
| 6 | Provision of site access to project Mon - Fri 6:00 am - 5:00 pm | [12 empty] | 0
| 7 | Provision of electricity on site. | [12 empty] | 0
| 8 | Provision of adequate space for materials storage area, dumpster, and toilet. | [12 empty] | 0
0
Salvaged Items (items to be removed and saved for future use) | [14 empty] | 0
| 1 | None | [6 empty] | 0 | [5 empty] | 0
0
Assumptions | [14 empty] | 0
| 1 | Existing house is not on a Post Tensioned Slab | [12 empty] | 0
| 2 | Fire suppression system is not required | [12 empty] | 0
| 3 | Proper truck access to property to remove debris and allow for materials | [12 empty] | 0
| 4 | Excess earth from excavation and/or grading (spoils) to be spread on site, unless otherwise noted. | [12 empty] | 0
| 5 | No rip/rap or other soil stabilization is required for this project unless otherwise notes. | [12 empty] | 0
0
0
C | PREPARATION & DEMOLITION | [7 empty] | QTY | UNIT |  | Qty | Unit | Unit Cost | Subtotals | Qty | 1313 | 1116.05 | 1509.95
Property Protection | [14 empty] | 0
| 1 | Passageways between exercise room and living room will be covered with plastic to prevent construction debris from entering | [9 empty] | 1 |  |  | 0
| 2 | Provide chain link Construction Fence around construction area to limit entry by others | [9 empty] | 1 |  | 1313 | 1313
| 3 | Provide Builder Paper to cover walkways within 10' of construction site | [9 empty] | 1 |  |  | 0
| 4 | Door from living space to Exercise room to be locked and covered with plastic to protect | [12 empty] | 0
| 5 | Provide plastic covering over exposed shething once stucco is removed. | [12 empty] | 0
0
Demolition (all items to be disposed of unless indicated differently) | [14 empty] | 0
| 1 | Remove steel gates at SW and SE block walls | [6 empty] | 20 | LF |  | 1 | EA |  | 0
| 2 | Remove block wall to nearest joint (approx 20 LF) @ SW and SE block walls | [6 empty] | 40 | LF |  | 1 | EA |  | 0
| 3 | Remove pavers and concrete at front per plan and save paves for future use | [6 empty] | 750 | SF |  | 1 | EA |  | 0
| 4 | Remove windows from south wall of Exercise Room and Exist Outdoor Hall | [6 empty] | 1 | EA |  | 1 | EA |  | 0
| 5 | Remove entire stucco system down to the plywood on the south wall of Rec Room | [6 empty] | 3996 | SF |  | 1 | EA |  | 0
| 6 | Remove stucco from upper level kitchen window expansion joint to east to edge of house. | [6 empty] | 195 | SF |  | 1 | EA |  | 0
| 7 | Remove roof tiles 36" back above Sauna Area to provide access for construction | [6 empty] | 1 | SF |  | 1 | EA |  | 0
| 8 | Remove roof tiles 36" back above kitchen to provide access for construction | [6 empty] | 1 | LF |  | 1 | EA |  | 0
| 9 | Remove security door to kitchen and eyebrow above | [6 empty] | 1 | 1 |  |  |  |  | 0
| 10 | Remove all tile and thinset in exercise room | [6 empty] | 364 | SF |  |  |  |  | 0
| 11 | Remove vegetation from garage and driveway per plan | [6 empty] | 1 | EA |  |  |  |  | 0
0
[9 empty] | Qty | Unit |  |  |  |  | 0
D | CONCRETE & EXCAVATION | [7 empty] | QTY | UNIT |  | Qty | Unit | Unit Cost | Subtotals | Qty | 1216.12 | 1033.702 | 1398.538
Excavation | [14 empty] | 0
| 1 | Excavation for proper installation of concrete and footings | [6 empty] | 8 | EA |  |  |  |  | 0
| 2 | Excavation necessary for plumbing waste line to tap into street sewer | [6 empty] | 2 | EA |  |  |  |  | 0
| 3 | Final grade of all areas worked in | [6 empty] | 2 | EA |  |  |  |  | 0
| 4 | Excess soil to be spread on site to blend in with existing | [6 empty] | 2 | EA |  | 1 |  | 1216.12 | 1216.12
| 5 | Prepare garage sub-grade per engineer's report | [6 empty] | 2 | EA |  | 1 |  |  | 0
[9 empty] | 2 | EA |  |  |  |  | 0
0
Concrete | [14 empty] | 0
| 1 | Form and pour concrete for garage, storage, hall, and new bathroom | [6 empty] | 1628 | SF |  | 1 |  |  | 0
| 2 | Install rebar ties between existing slab and new garage slab to minimize movement | [6 empty] | 1 | EA |  | 1 |  |  | 0
| 3 | Form and pour concrete for wheelchair ramp in garage | [6 empty] | 1 | EA |  | 1 |  |  | 0
| 4 | Install concrete slab reinforcement of #4's at 48" oc | [6 empty] | 1628 | EA |  | 1 |  |  | 0
| 5 | Form and pour concrete for driveway at completion of garage | [6 empty] | 2820 | SF |  | 1 |  |  | 0
0
0
[9 empty] | Qty | Unit |  |  |  |  | 0
E | STRUCTURE | [7 empty] | QTY | UNIT |  |  |  |  | 0 |  | 462 | 392.7 | 531.3
Framing | [14 empty] | 0
| 1 | Provide exterior and interior wall framing per plans to create garage, storage, and bath. 12' ceiling in garage | [6 empty] | 1628 | SF |  | 1 |  |  | 0
| 2 | Provide roof framing and sheathing for garage roof, as well as roof deck above. | [12 empty] | 0
| 3 | Provide framing for parapet wall to match existing | [12 empty] | 0
| 4 | Relocate door on second floor from kitchen to deck due to elevator door | [6 empty] | 1 | EA |  | 1 |  | 462 | 462
0
Masonry | [14 empty] | 0
| 1 | See Landscape section | [12 empty] | 0
0
Insulation | [14 empty] | 0
| 1 | Garage & storage room exterior walls to be insulated with R-19 batt insulation | [6 empty] | 1344 | SF |  | 1 |  |  | 0
| 2 | Garage ceiling to be insulated with R-30 batt insulation | [6 empty] | 1584 | SF |  | 1 |  |  | 0
| 3 | Garage south exterior wall to be insulated with high density R-21 insulation | [6 empty] | 432 | SF |  | 1 |  |  | 0
0
0
[9 empty] | Qty | Unit |  |  |  |  | 0
F | INTERMEDIATES | [7 empty] | QTY | UNIT | [6 empty] | 46.55 | 39.5675 | 53.5325
Plumbing | [14 empty] | 0 | 7
| 1 | Install new main waste line from bathroom to tap into existing sewer at street | [9 empty] | 1 |  |  | 0
| 2 | Install all other necessary waste lines for bathroom | [12 empty] | 0
| 3 | Install cold water and hot water to bathroom from hot water tank in adjacent room | [12 empty] | 0
| 4 | Existing laundry water and waste will remain as is for new washer and dryer hookup | [12 empty] | 0
| 5 | Install new toilet, vanity, and sink in bathroom | [12 empty] | 0
| 6 | Install one hose bib on exterior of south garage wall | [12 empty] | 0
| 7 | Install (2) 2" PVC pipes down through garage wall for future solar pool heating system | [12 empty] | 0
| 8 | Run roof drain lines through structure walls and exist in gravel area west of new garage rear driveway | [12 empty] | 0
| 9 | *See allowances for costs allocated for this portion of work | [12 empty] | 0
0
Mechanical | [14 empty] | 0
| 1 | Install electric packaged heat pump on garage roof to heat cool garage area | [9 empty] | 1 |  | 46.55 | 46.55
| 2 | Install electric, two zone, mini split heat pump to feed Storage and Existing Laundry | [12 empty] | 0
| 3 | Tap into existing HVAC system located in Laundry room to fee new Bath | [12 empty] | 0
0
Electrical | [14 empty] | 0
| 1 | New subpanel to be installed in garage to feed new areas. See allowances for conduit and feed from main panel to subpanel | [9 empty] | 1 |  |  | 0
| 2 | Garage and storage room to have receptacles at 48" high @ every 12' | [12 empty] | 0
| 3 | Garage and storage room to have LED Recessed Lighting cans throughout | [12 empty] | 0
| 4 | Electrical and low voltage lighting to be run to garage door openers | [12 empty] | 0
| 5 | Electrical to be run to car lifts | [12 empty] | 0
| 6 | Electrical to feed one receptacle, one vanity light, and one exhaust fan in bathroom. | [12 empty] | 0
| 7 | Relocate electrical switches on second floor, where new elevator door will go | [9 empty] | 1 |  |  | 0
| 8 | Existing breakers to be reinstalled in new panel | [12 empty] | 0
| 9 | Upgrade main panel to 400 amp and sub panel B to 200 amp | [9 empty] | 1 |  |  | 0
| 10 | Install 3/4" conduit from main panel to center of garage ceiling for future low voltage | [9 empty] | 1 |  |  | 0
|  | *See allowances for costs allocated for this portion of work | [12 empty] | 0
0
0
[9 empty] | Qty | Unit |  |  |  |  | 0
G | INTERIOR FINISHES | [7 empty] | QTY | UNIT |  |  |  |  | 0 |  | 0 | 0 | 0
Drywall | [14 empty] | 0 | 12
| 1 | Hang, tape and texture 1/2" drywall to all interior walls and ceiling of garage, storage room and new bath. Garage 12' ceiling | [6 empty] | 1628 | SF |  | 1 |  |  | 0
| 2 | Drywall texture to be similar to existing texture in house | [9 empty] | 1 |  |  | 0
| 3 | Patch old window at exercise room and texture to blend with adjacent | [6 empty] | 1 | SF |  |  |  | 1354 | 0
0
Paint | [14 empty] | 0
| 1 | All drywall walls and ceilings to be primed and then painted. All stucco to be painted with a primer based paint. | [6 empty] | 1628 |  |  | 1 |  |  | 0
| 2 | Garage, storage room, bath, and rec room to receive 2 color/sheens in each room | [12 empty] | 0
| 3 | All doors, trim, and shelving to receive different color/sheen | [12 empty] | 0
| 4 | Scrape and repaint rear deck at stairwell | [6 empty] | 1 | EA |  | 1 |  |  | 0
0
Trim | [14 empty] | 0
| 1 | New base molding to be installed in storage, pool bath, and hall similar to existing house base molding | [6 empty] | 1 | EA |  | 1 |  |  | 0
| 2 | Rec room to have base molding patched or newly installed | [12 empty] | 0
| 3 | All interior sides of swing doors to have new door casing installed similar to existing | [12 empty] | 0
0
Closets | [14 empty] | 0
| 1 | Storage room to receive 16" deep shelving around entire storage areas interior at 30" of center from floor to ceiling | [12 empty] | 0
| 2 | Shelves to be primed and painted | [12 empty] | 0
| 3 | *See allowances for costs allocated for this portion of work | [12 empty] | 0
0
Wet Tile/Glass | [14 empty] | 0
| 1 | This category is not included in this Scope of Work or any associated costs. | [12 empty] | 0
0
0
[9 empty] | Qty | Unit |  |  |  |  | 0
H | EXTERIOR FINISHES | [7 empty] | QTY | UNIT | [6 empty] | 154 | 130.9 | 177.1
Roofing | [14 empty] | 0
| 1 | New garage to receive built up roof coating similar in color to existing roof. | [6 empty] | 1584 | SF | 1584 | 1 |  |  | 0
| 2 | Salvaged tiles from above Sauna room and blend with new tiles for a consistent look | [6 empty] | 210 | SF | 210 |  |  |  | 0
| 3 | Roof tiles similar to existing to wrap parapet walls at garage and walking deck | [6 empty] | 183 | LF | 1 |  |  |  | 0
0
Stucco | [14 empty] | 0
| 1 | New exterior walls to receive One-Kote stucco application with texture similar to existing. | [6 empty] | 2843 | SF | 2843 | 1 |  | 154 | 154
| 2 | Create architectural pop out at front of garage | [6 empty] | 1 | EA | 1 |  |  |  | 0
| 3 | Stucco new front CMU wall similar to existing | [6 empty] | 1 | EA | 1 | 1 |  |  | 0
0
Landscaping | [14 empty] | 0
| 1 | Extend block fences on east and west side to meet up with new garage | [6 empty] | 40 | LF | 40 | 1 |  |  | 0
| 2 | Install paver walking path from South West side of new garage to connect to existing. Pavers to be installed on top of concrete pad. Pavers of similar style to existing. | [6 empty] | 80 | SF | 80 | 1 |  |  | 0
| 3 | Install pavers at front, from new gate to existing. Pavers to be installed on top of concrete pad. Pavers of similar style to existing. | [6 empty] | 200 | SF | 200 |  |  |  | 0
| 4 | Spread gravel, similar to existing color and size, around south sides of new structure | [6 empty] | 4200 | SF |  |  |  |  | 0
| 5 | Replace river rock, vegetation, drip lines where damaged due to demo on east side of exercise room. Replace with same plants | [12 empty] | 0
0
0
[9 empty] | Qty | Unit |  |  |  |  | 0
I | SELECTIONS | [7 empty] | QTY | UNIT |  |  |  |  | 0 |  | 165 | 165 | 165
|  | Refer to Selections Reconcilation for details of project Selections | [6 empty] | 1 | EA |  | 1 | EA | 165 | 165 |  | 165 | 165 | 165
[15 empty] | 0 |  | 0 | #REF! | #REF!
0
[15 empty] | Direct Costs |  | 4756.67 | 4067.9195 | 5445.4205
[15 empty] | Overhead | 12% | 570.8004 | 488.1503 | 653.4505
[15 empty] | Profit | 9% | 428.1003 | 366.1128 | 490.0878
[15 empty] | Estimated Sales Tax |  | 241.734 | 206.7317 | 276.7363
[15 empty] | Project Budget |  | 5997.3047 | 5128.9143 | 6865.6951
[7 empty] | Low Range | High Range
B | GENERAL CONDITIONS | [5 empty] | 1190 | 1610
C | PREPARATION & DEMOLITION | [5 empty] | 1116.05 | 1509.95
D | CONCRETE & EXCAVATION | [5 empty] | 1033.702 | 1398.538
E | STRUCTURE | [5 empty] | 392.7 | 531.3
F | INTERMEDIATES | [5 empty] | 39.5675 | 53.5325
G | INTERIOR FINISHES | [5 empty] | 0 | 0
H | EXTERIOR FINISHES | [5 empty] | 130.9 | 177.1
I | SELECTIONS | [5 empty] | 165 | 165
[5 empty] | Direct Costs |  | 4067.9195 | 5445.4205
[5 empty] | Overhead | 12% | 488.1503 | 653.4505
[5 empty] | Profit | 9% | 366.1128 | 490.0878
[5 empty] | Estimated Sales Tax |  | 170.8526 | 276.7363
[5 empty] | Project Budget |  | 5093.0352 | 6865.6951
*The following Suggested Budget is based on current drawings without City of Tucson approval stamp. Final proposal will be created after reception of approved drawings and site visit with subcontractors.